Technical Requirements for Relocated Connections and Grinder Pump Units

- Relocated Connections or grinder pump units shall be shown on a site plan.

- The plan shall show new grinder pump units and revised piping locations.

- The site plan will be submitted, reviewed and approved by the WPCA. The site plan will be incorporated with the existing easement agreement and refilled with the Town.

- An application fee of $300 shall be submitted to the Permit Agent with the required insurance certificate, a performance bond for $7500, and plumbing license.

- All work, new material, and inspection costs shall be at the Owner's expense.

- Inspection cost consists of coordination, reviewing submittals, and field inspection.

- All material and work shall conform to the "Technical Requirements for New Connections." The forms required to complete this, can be found in the Sanitary Sewer System Rules & Regulations. These are located on the Home Page, under Documents, then Misc. and the 7th item down. Then go to page 43 & 44.

- Inspection Cost is $65 per hour, with a minimum cost of one hour.

- An as-built plan is required showing final locations as constructed.

- Performance Bond shall be released after completion of operating system.

- Final billing and remaining balance due or reimbursement performed after as-built plan and final inspection is completed.